{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":15,"n_cols":12,"rows_kept":15,"merged":[[0,0,0,11],[2,0,4,0],[5,0,14,0]],"flags":["formulas_cached_only"]}
["2025年如皋市重点污染源无组织废气执法监测统计表2"]
["企业名称","监测点","监测项目","监测日期","风向","风速（m/s）","温度(℃)","压力（kPa）","排放浓度","上限","单位","是否超标"]
["光大生物能源（如皋）有限公司","下风向G2","恶臭浓度","04-28","东北","2.4","21.7","101.5","11","20","无量纲","否"]
[null,"下风向G1","恶臭浓度","04-28","东北","2.4","21.7","101.5","<10","20","无量纲","否"]
[null,"下风向G3","恶臭浓度","04-28","东北","2.4","21.7","101.5","<10","20","无量纲","否"]
["如皋市宏茂铸钢有限公司","下风向3#","非甲烷总烃","07-18","北","2.0","33.1","100.36","1.92","4","mg/m3","否"]
[null,"下风向3#","颗粒物","07-18","北","2.0","33.1","100.36","0.143","0.5","mg/m3","否"]
[null,"下风向2#","非甲烷总烃","07-18","北","2.0","33.1","100.36","1.84","4","mg/m3","否"]
[null,"下风向2#","颗粒物","07-18","北","2.0","33.1","100.36","0.175","0.5","mg/m3","否"]
[null,"下风向1#点","非甲烷总烃","07-18","北","2.0","33.1","100.36","1.56","4","mg/m3","否"]
[null,"下风向1#点","颗粒物","07-18","北","2.0","33.1","100.36","0.151","0.5","mg/m3","否"]
[null,"下风向3#","臭气浓度","07-18","北","1.7","31.8","100.2","<10","20","无量纲","否"]
[null,"下风向4#","臭气浓度","07-18","北","1.7","31.8","100.2","<10","20","无量纲","否"]
[null,"下风向2#","臭气浓度","07-18","北","1.7","31.8","100.2","<10","20","无量纲","否"]
[null,"下风向1#点","臭气浓度","07-18","北","1.7","31.8","100.2","<10","20","无量纲","否"]